Prospects for the Application of Potential Advanced Construction Technologies for Nuclear Power (INL/RPT-24-76467)

Content

Prospects for the Application of Potential Advanced Construction Technologies for Nuclear Power (INL/RPT-24-76467) 	1

Contents 	1

INTRODUCTION: CONTEXT OF THE INITIAL REPORT AND THE OBJECTIVES OF ACTI 	2

Economic Drivers and the Key Issue of Nuclear Deployment 	2

3 Initiative

SECTION 1. ACTI'S CURRENT EFFORTS AND THE GE-HITACHI NUCLEAR ENERGY (GEH) PROJECT 	3

Partnership Overview and Stated Objectives 	3

Vertical Shaft Construction 	3

Modular Steel-Concrete Composite Walls 	4

Process Optimization Analysis: Transition from SteelBricks™ to DPSC 	4

Monitoring and Digital Twins in Phase 1 	6

Development of Industrial Potential 	6

SECTION 2. ACTI'S PROMISING DIRECTIONS: SEVEN R&D PRIORITIES 	6

Topic #1: Risk-Informed Regulation for Advanced Nuclear Facilities 	6

Topic #2: Digital Twins for Advanced Nuclear Facilities Development and Deployment 	8

Topic #3: Construction and Testing of Elements Using High-Temperature Concrete 	9

Topic #4: Testing and Demonstration of Diaphragm Wall Structures 	9

Topic #5: Testing Robotic and 3D Printing of Reinforced Concrete Technologies 	10

Topic #6: Full-Scale Demonstration of Modular Steel-Concrete Wall Systems 	11

Topic #7: Seismic Isolators in Advanced Nuclear Reactor Construction 	11

SECTION 3. EXPERT ANALYSIS AND STRATEGIC CONCLUSIONS 	13

Strategic Interdependence of Technological Directions 	13

DPSC Optimization Lesson: Prioritizing NDE Reduction 	13

Digitalization as the Basis for Automation 	14

Restoring Lost Industrial Experience 	14

APPENDIX: HISTORICAL CONTEXT OF ADVANCED CONSTRUCTION METHODS 	14

Modularity and Vertical Installation 	14

Structural Materials and Engineering 	15

SECTION 4. SUMMARY AND RECOMMENDATIONS 	15

INTRODUCTION: CONTEXT OF THE INITIAL REPORT AND THE OBJECTIVES OF ACTI

This white paper is a translation and detailed analysis of document INL/RPT-24-76467, entitled “Perspectives on Potential Advanced Construction Technologies for Nuclear Energy,” published in January 2024. 1 The document was prepared by staff at Idaho National Laboratory (INL) and the National Reactor Innovation Center (NRIC), including Brad Tomer, Svetlana Lawrence, Allison Ray, Sam Reiss, Philip Schoonover II, and Peter Suderhoud. 1

Economic Drivers and the Key Issue of Nuclear Deployment

The development of advanced reactor technologies has attracted significant financial support, stimulating innovation in the nuclear energy sector. Next-generation reactors are designed with improved passive safety systems and the potential for cost reduction. 1 However, their commercial success is directly dependent on addressing key economic challenges associated with construction.

Economic assessments in nuclear power consistently point to construction costs and schedule risk as the primary drivers of overall deployment costs. 1 Historically, nuclear power infrastructure projects have experienced average cost overruns of up to 120%, while research shows that only 0.5% of megaprojects are completed on time, within budget, and with expected stakeholder benefits. 1

Traditionally, vital elements of nuclear power deployment, including civil/structural design, project complexity, and automation, have been either underestimated or delayed in development cycles. Furthermore, the nuclear industry's collective experience in implementing large construction projects has diminished over the past several decades due to the low rate of new nuclear power plant construction. 1

The Role of the ACTI Initiative

To address these challenges, the National Reactor Innovation Centre (NRIC) launched the Advanced Construction Technology Initiative (ACTI). ACTI aims to reduce the cost overruns and schedule delays that have plagued nuclear construction projects. 1 By facilitating the development and implementation of advanced construction technologies and approaches through partnerships, NRIC's initiative aims to deliver dramatic benefits in the construction of advanced nuclear power facilities.

ACTI's key goal is to transform the cost of building, operating, and deploying nuclear power, enabling it to make a significant contribution to the energy systems of the future. This transformation is essential to increasing the confidence of investors, planners, policymakers, and, ultimately, consumers in the ability of nuclear power to meet future needs. 1 ACTI projects address regulatory requirements for commercial nuclear applications and develop strategies to build regulatory expertise in reviewing new technologies.

SECTION 1. ACTI'S CURRENT EFFORTS AND THE GE-HITACHI NUCLEAR ENERGY (GEH) PROJECT

Partnership Overview and Stated Objectives

In 2021, NRIC launched its first project under ACTI, awarding a multi-year, co-financed project to GE-Hitachi Nuclear Energy (GEH) and other key stakeholders. 1 The primary objective of this public-private partnership is to demonstrate a range of technologies that, together, can reduce new reactor construction costs by more than 10% and significantly reduce schedule risks and uncertainties. 1

This work focuses on three key technologies: vertical shaft construction, modular steel-reinforced concrete wall systems, and monitoring using digital twins. 1

Vertical Shaft Construction

Vertical shaft construction draws on best practices from tunneling and other industries to reduce excavation and the need for engineered backfill after construction. 1 For a typical nuclear facility requiring the excavation of one million cubic yards of earth, this method has the potential to save up to $50 million in project costs and significantly reduce the construction schedule. 1

Vertical shaft construction is particularly relevant for advanced nuclear reactors, as many of their designs involve underground installation to achieve their inherent passive safety and physical security characteristics. 1

Modular Steel-Concrete Composite Walls

Several companies are exploring modular steel-concrete composites as a potential option for constructing major structural components of nuclear facilities, including containment structures. 1 These modular wall systems offer significant advantages over traditional steel-composite methods, including a significant reduction in the amount of labor required on-site. 1

Steel casings can be quickly fabricated in factories while excavation is underway and then shipped to site for expedited installation. This allows developers to significantly compress schedules by initiating wall construction concurrently with excavation. 1 Furthermore, because wall frames are manufactured in a controlled environment, these systems have the potential to dramatically improve construction quality and significantly reduce the amount of work performed on site. 1

Process Optimization Analysis: Transition from SteelBricks™ to DPSC

The ACTI project initially utilized a steel-reinforced concrete composite wall system called SteelBricks™. 1 However, as the project progressed, GEH identified several issues related to the construction of SteelBricks™ that could have led to cost overruns and delays during the demonstration phase. 1

The main problem with SteelBricks™ was that it required a significant amount of full penetration welding to join the individual "bricks" . 1

To address these limitations, the integrated project team decided to switch to a Diaphragm Plate Steel Composite (DPSC) for the reactor building wall system. 1

Benefits of the DPSC System and Regulatory Optimization

The DPSC system consists of two continuous plates connected by diaphragm plates. Unlike the full-penetration welding used in SteelBricks™, in DPSC the diaphragm plate is welded to the face plate using fillet welds . 1 The fillet weld is designed to provide the required load-bearing capacity of the plates, comparable to the strength achieved with full-penetration welding. 1

A key advantage of DPSC is that the welding and inspection process, especially when using automated robotic manipulators, is significantly simplified compared to full-penetration welding. 1 Fillet weld inspection in the DPSC system is classified as a Category H weld , requiring only visual inspection . Visual inspection can be accomplished using a camera attached to the robotic welding manipulator, eliminating the need for extensive non-destructive testing (NDE) that was mandatory for SteelBricks™ welds. 1 This technological optimization demonstrates a critical principle in nuclear construction: innovations that minimize the complexity of quality control and NDE are a direct path to cost reduction and schedule acceleration.

Summary table of DPSC benefits:

| Characteristic | SteelBricks™ | Diaphragm Plate Steel Composite (DPSC) |
| --- | --- | --- |
| Welding Type | Full penetration welding | Fillet welds |
| Non-Destructive Testing (NDE) | Extensive NDE required | Visual inspection only (Category H) |
| Welding Volume/Timeframe | Significant amount of welding, high risks | Significant reduction in welding volume |
| Material Processing | Bending/forming and heat treatment required | No bending/forming required |
| Installation | Relatively complex | Simplified installation (non-rounded walls) |
| Industry Experience | Limited | Some experience with straight walls (AP1000®) |

GEH is currently designing and fabricating DPSC test specimens for structural testing at Purdue University to validate the system's performance. 1 For the Phase 2 demonstration, GEH has proposed building a "minimum viable design" that will demonstrate all key DPSC construction techniques for a cylindrical reactor containment vessel. 1

Monitoring and Digital Twins in Phase 1

The current ACTI project uses advanced inspection techniques to create a 3D model of the as-built structure. The team then uses embedded sensors, 3D structural and geotechnical models, and software services to create a virtual representation known as a digital twin .

during and after construction. This capability helps resolve or anticipate problems before they arise and enables proactive monitoring of the asset throughout its entire lifecycle.

Development of Industrial Potential

The ACTI project with GEH brings strategic benefits to the entire nuclear industry as it has the potential to be used by numerous US companies developing small modular reactors (SMRs) and advanced reactors. 1

The project promotes the development and establishment of a mature supply chain for the fabrication of nuclear components/structures, as well as the training of a skilled workforce proficient in new construction, welding, and fabrication techniques. 1 Thus, ACTI serves not only to demonstrate technologies but also to restore lost industrial expertise. Lessons learned from this project cover the supply chain, welding, fabrication, and testing of key safety components, and also enable more accurate planning of new nuclear power plant construction schedules. 1

SECTION 2. ACTI'S PROMISING DIRECTIONS: SEVEN R&D PRIORITIES

While the current GEH project is a significant step forward, NRIC emphasizes that it is only the beginning of a much larger effort. To ensure nuclear energy is economically competitive with other forms of energy, seven key areas have been identified requiring attention, further development, and demonstration .

Topic #1: Risk-Informed Regulation for Advanced Nuclear Facilities

Advanced reactors exhibit significant differences in fuel characteristics, safety systems , and operating conditions compared to traditional light-water reactors (LWRs ) . Traditional LWRs require extremely robust containment structures to withstand internal pressures, aircraft impacts, and seismic forces, resulting in significant civil/structural costs.

Non-LWR reactor designs mitigate many of these risks through their innovative or intrinsic features, such as operating at lower pressures, using advanced TRISO fuel (which acts as a barrier to radionuclides), or compact size, often allowing for underground installation. 1

Although civil/structural safety-related systems must meet stringent nuclear quality assurance (NQA) standards, significant savings can be achieved by moving to risk-informed and performance-based regulatory approaches rather than traditional prescriptive requirements. 1

NQA-1 Barriers

Current NQA requirements significantly increase the cost of civil construction, estimated to be approximately double . Nearly 75% of this NQA-induced increase stems from the need to use expensive materials that meet the NQA-1 standard, such as specialized steel and concrete. 1 Additionally, NQA requires rigorous inspections, testing, and documentation, resulting in extended construction schedules and significantly higher labor costs compared to non-nuclear projects. 1

Because advanced reactors inherently mitigate most safety concerns while still being subject to the same stringent regulatory criteria as their predecessors, this often leads to unnecessary overdesign and unnecessary application of NQA-1 requirements. Given that the greatest risk to the deployment of new nuclear reactors is cost, not safety, further investment in the development of a regulatory framework tailored to the specifics of advanced reactors (TI-RIPB) is imperative .

Directions of Action:

- Develop a regulatory and technical framework that uses risk-informed and performance-based approaches to define requirements for civil structures based on their functions, rather than solely on the designation “safety-related”. 1

- Generating sufficient data through modeling, experimentation, and validation to risk-inform the application of QA requirements. 1

- Establishment of new concrete standards allowing for a graded approach to requirements (currently the 'safety related' classification immediately requires NQA-1). 1

- Develop approaches that simplify inspections or allow the use of software controls (e.g., the Reliability and Integrity Management (RIM) program according to ASME Section XI, Division 2) instead of code-based SSC qualification. 1

Estimated Funding Need: $15 million over three years ($5 million annually). 1

Topic #2: Digital Twins for Advanced Nuclear Facilities Development and Deployment

Historically, the high complexity and rigor of the nuclear design certainty process has meant that projects evaluate only a small number of options before proceeding with construction. 1 Advances in artificial intelligence (AI), machine learning (ML), computing power, and data management have enabled the creation of "digital twins" that could revolutionize the development and deployment of new infrastructure. 1

Digital twins can provide the following benefits:

- Improving Design Productivity: Digitizing the engineering process allows modern software architectures to automatically transfer information between applications, eliminating the tedious manual rework of data across engineering disciplines. 1

- Project Optimization: Systems engineering can be digitally enabled to accommodate more simulations, analyses, and verifications early on, ensuring the optimal solution is selected in terms of cost and schedule. 1

- Error Reduction: Creating a robust digital thread of information maintained throughout the lifecycle ensures that data is not lost, the impact of changes is fully understood before implementation, and the physical asset is seamlessly linked to the digital design. Rework during the final design, procurement, and construction phases accounts for a significant portion of cost overruns in the nuclear industry. 1

Action Plan and TRL 7

An open, project-agnostic, modular digital twin foundation is needed. The goal is to develop a "nuclear digital engineering" ecosystem to Technology Readiness Level (TRL) 7 (demonstration of a system/process prototype in an operational environment). 1 This ecosystem should include Product Lifecycle Management (PLM), 3D CAD/BIM, Systems Engineering, and Enterprise Asset Management (EAM), as well as automated communication between them. 1 It is critical to begin qualifying this digital engineering ecosystem according to NQA-1 standards.

Estimated Funding Need: $18 million over three years ($6 million annually). 1

Topic #3: Construction and Testing of Elements Using High-Temperature Concrete

Competitiveness challenges in nuclear energy extend beyond simply reducing costs and include improving investment security and opening up new revenue streams. 1 Civil-structural systems (reinforced concrete or surrounding soils) associated with high-temperature reactors (HTRs) are the final link in the thermal energy dissipation pathway. 1

LWRs can subject civil infrastructure to thermal cycling under normal operating conditions (during partial or complete failure of reactor shaft cooling systems) or in unlikely accident scenarios (e.g., depressurization with cooling system failure). 1 Current experience and regulatory frameworks focus on LWRs, which operate at lower temperatures, leaving a gap in knowledge about the behavior of reinforced concrete at elevated temperatures. 1

High Temperature Concrete Capabilities

The ability of advanced reactors to operate at higher temperatures could be commercialized, for example, by using waste heat for industrial facilities. Furthermore, advances in high-temperature concrete, such as the development of thermal batteries based on it, could improve the profitability of investments in advanced reactors.

Continued research into high-temperature concrete, including leveraging experience gained in geothermal and other high-temperature industries, is essential. Developing and testing concrete that maintains mechanical strength at high temperatures and thermal cycling could reduce the cost of biological shielding and cooling structures for advanced nuclear power plants .

Estimated Funding Need: $2-3 million (for formulation development and early testing). 1

Topic #4: Testing and Demonstration of Diaphragm Wall Structures

Excessive costs associated with large-scale bathtub excavation are one of the largest contributors to the cost of nuclear construction. 1 Diaphragm wall technology, borrowed from other industries, is a flexible vertical construction method that can be adapted for nuclear facilities. 1

Diaphragm Wall Method: A reinforced structural diaphragm wall is constructed by digging a trench vertically into the ground, which is supported by a lightweight mud mortar (bentonite or polymer) until the mortar is systematically replaced with concrete after the reinforcement cage is installed. 1

The use of these systems can significantly reduce the amount of excavation required for underground nuclear facilities. 1 Diaphragm walls create sealed structures with cells that can be used to house reactors, fuel storage, or hot cells. This method is particularly suitable for the underground placement of microreactors , providing inherent safety, physical security, and reduced time to market. 1 The structures can be easily scaled and expanded in a modular manner as needed. 1

Successful transfer of this technology to the nuclear industry requires specialized knowledge in the areas of calculations, design, concrete technology, and joint formation that meet regulatory requirements.

Estimated Funding Requirement: $5–$7 million (for detailed conceptual design of the demonstration facility (1–5 cells), analysis of alternatives, and requirements verification). 1

Topic #5: Testing Robotic and 3D Printing of Reinforced Concrete Technologies

The introduction of 3D printing technology into the construction of small nuclear reactors and reactor silos represents a fundamental change, replacing the traditional piecemeal approach with automated, rapid construction. 1

The main advantages of this approach are:

- Significant Time Reduction: 3D printing allows for 24/7 construction, eliminating many labor-intensive traditional steps. NRIC aims to create a framework for SMR/microreactor construction that takes less than 1 month .

- Cost Efficiency: Reduced labor requirements and reduced material waste lead to significant cost savings. 1

- Improved Structural Integrity: Custom designs and improved material properties enhance safety and durability. 1

- Improved Worker Safety: Standardized and modular processes enabled by 3D printing reduce risks to on-site personnel. 1

Transferring this technology to the nuclear realm presents unique challenges related to the temperature ranges and seismic loads the structures must withstand. 1 Immediate work is needed on concrete formulation development, evaluation of existing printing technologies, development of testing standards, and regulatory engagement. 1

Estimated Funding Need: $5–$7 million (for Phase 1). 1

Topic #6: Full-Scale Demonstration of Modular Steel-Concrete Wall Systems

The current ACTI NRIC project with GEH involves only small-scale trials. 1 To enable subsequent commercial use of composite wall systems (such as DPSC) and the development of a mature supply chain, a large-scale demonstration effort is required. 1

Construction and testing of full-scale mock-ups of DPSC composite walls and their connections with different types of concrete: self-compacting concrete (SCC), high-performance concrete (HPC), and reactive powder concrete (RPC) are required. 1 Particular attention should be paid to the connections between large-scale precast/prestressed sections, since although steel structures can be self-supporting and modular, the technology for connecting these modular sections on site still requires further research and testing. 1

Estimated Funding Need: $50 million 1

Topic #7: Seismic Isolators in Advanced Nuclear Reactor Construction

of earthquakes in structures. The integration of seismic isolators into the designs of advanced nuclear reactors ensures structural integrity and safety.

Key benefits of seismic isolation:

- Enhanced Safety and Resilience: Isolators act as a protective barrier, reducing the impact of seismic forces on the reactor structure. 1

- Benefits of Modular Construction: Seismic isolators can facilitate modular construction approaches for advanced reactors, accelerating construction timelines. 1

- Cost Reduction: Investing early prevents potential structural damage and costly downtime for repairs. 1

- Regulatory Compliance: Incorporating isolators can exceed minimum regulatory requirements, which can potentially streamline the regulatory approval process and shorten project timelines. 1

Additional investment is needed to standardize equipment, achieve regulatory acceptance, and reduce capital costs associated with seismic isolation.

Estimated Funding Need: $20 million 1

NRIC ACTI R&D Proposals Summary

| Topic No. | Technology/Direction | Main Goal | Estimated Financing Need (USD) |
| --- | --- | --- | --- |
| 1 | Risk-Based Regulation | Civilian Structure Cost Reduction (NQA-1) through TI-RIPB. | $15 million (over 3 years) |
| 2 | Digital Twins (TRL 7) | Optimizing design and reducing errors, creating an open ecosystem. | $18 million (over 3 years) |
| 3 | High Temperature Concrete | Ensuring the structural integrity of the thermal insulation material and its use in thermal accumulators. | $2–3 million |
| 4 | Diaphragm Walls | Reducing excavation volumes, supporting underground microreactors. | $5–$7 million |
| 5 | Robotic 3D Printing | Ultra-fast construction (target: <1 month for SMRs/Microreactors ). | $5–$7 million |
| 6 | Full-Scale Modular Walls | Validation of large-scale composite systems and supply chain development. | $50 million |
| 7 | Seismic Isolators | Reducing seismic risk, simplifying standardization and the regulatory process. | $20 million |

SECTION 3. EXPERT ANALYSIS AND STRATEGIC CONCLUSIONS

Strategic Interdependence of Technological Directions

An analysis of the seven proposed R&D areas shows that they are not isolated initiatives but rather an interconnected system. Regulatory reform (Topic 1) acts as a critical economic catalyst for all construction technologies. Unless the high costs of materials and processes imposed by current NQA-1 requirements are reduced through the implementation of risk-informed and performance-based approaches, the economic impact of major technology investments (e.g., $50 million for a full-scale demonstration of modular walls, Topic 6) will be negated. Indeed, the successful implementation of any advanced construction method in the nuclear sector directly depends on the parallel successful implementation of the TI-RIPB regulatory approach.

DPSC Optimization Lesson: Prioritizing NDE Reduction

The transition from SteelBricks™ to DPSC on the current GEH project is an important methodological lesson. The initial choice (SteelBricks™) was driven by technical specifications, but its regulatory implications (full-penetration welding requirements and extensive NDE) created unacceptable risks of schedule delays and cost overruns .

An innovative solution (DPSC) involves the use of fillet welds, which, due to their classification as Category H welds, require only visual inspection. 1 This significantly simplifies robotic welding and reduces inspection time. This case demonstrates that in nuclear construction, the key factor determining the economic viability of a structure is not only its strength but also, above all, minimizing the complexity of quality control processes, non-destructive testing (NDE), and regulatory documentation . The cost and complexity of the process in the nuclear sector often outweigh the cost of the materials themselves.

Digitalization as the Basis for Automation

The Digital Twins initiative (Topic 2) is fundamental to other advanced construction methods, such as robotic 3D printing (Topic 5) and diaphragm wall structures (Topic 4). Developing a digital engineering ecosystem to TRL 7 ensures critical 3D modeling accuracy, 4D modeling integration, and end-to-end data control throughout the lifecycle. 1 Without this digital foundation, which ensures impeccable accuracy and quality control, it is impossible to safely and efficiently deploy automated and modular construction technologies on a nuclear site.

Restoring Lost Industrial Experience

ACTI serves an important purpose beyond simple technology demonstration. Projects, particularly large-scale ones (such as the $50 million Topic 6), represent strategic investments in restoring lost industrial expertise. By investing in the development and testing of new welding, fabrication, and assembly technologies for composite structures, ACTI is purposefully developing a mature supply chain and training a workforce for future SMR and advanced reactor deployments in the United States .

APPENDIX: HISTORICAL CONTEXT OF ADVANCED CONSTRUCTION METHODS

ACTI's proposals are a logical development of construction methods already successfully applied in nuclear and large civil industries worldwide. 1

Modularity and Vertical Installation

ACTI builds on the modularity concept previously employed at sites such as Kashiwazaki-Kariwa-7 in Japan, where the reactor building floors were divided into modules and lifted by crane. 1 At Lingao-4 in China, the containment dome was assembled on the ground and lifted as a single module, reducing the time typically required to assemble sections. 1

Similarly, ACTI's vertical shaft construction technology complements the Open Top Installation method used on Qingshan 3 and 4 in China and Tarapur 3 and 4 in India. This method uses very heavy lift (VHL) cranes to lower large equipment (such as steam generators) through a temporary opening in the roof, significantly reducing installation time .

Structural Materials and Engineering

The use of steel-reinforced concrete composite systems (SC-Walling) in ACTI (DPSC) is a continuation of the evolution of reinforced concrete technologies, including Steel Plate Reinforced Concrete (SPC), which has already been used in Japan to reduce schedules. 1

ACTI is also taking automation to the next level. Historically, automated welding was used for pipes at Kashiwazaki-Kariwa-7, and for rebars using automated machines at Kashiwazaki-Kariwa-7. 1 ACTI integrates these methods with robotic systems (Topic 5) and digital twins (Topic 2).

Historical computer systems were used to create 3D models of piping, structural steel, and concrete, as well as 4D modeling (linking the 3D model to the construction schedule). 1 ACTI takes this approach further by requiring digital ecosystem qualification to NQA-1 standards and the integration of enterprise asset management (EAM) and product lifecycle management (PLM) systems. 1

SECTION 4. SUMMARY AND RECOMMENDATIONS

Nuclear construction has historically been fraught with significant difficulties, high costs, and significant risks of cost overruns and schedule delays. The NRIC ACTI initiative, while promising to address current challenges, is only the first step in a necessary, larger effort .

Effectively moving forward with a multitude of potential solutions, encompassing technologies such as risk-informed regulation, digital twins, high-temperature concrete, and 3D printing, requires a comprehensive prioritization strategy and a systematic approach. 1 Conducting a formal study to analyze the impact and cost-effectiveness of each of the seven proposed options is critical to ensuring efficient resource allocation.

To effectively implement and promote these advanced construction practices, NRIC recommends establishing a dedicated program with an annual budget of $15–$20 million over five years . 1 Adopting such an ambitious and systematic approach will enable NRIC to pave the way for a streamlined and cost-effective nuclear construction process, which will ultimately accelerate the transition to clean energy and unlock the potential of reliable, low-carbon nuclear power.

The ultimate intent of this work is to demonstrate that new systems and technologies can be subsequently used in commercial nuclear projects to reduce costs, improve schedule reliability, and accelerate schedules. 1

Sources

- Sort_89852.pdf